# Facility Water Audit Checklist

Use this checklist to plan a preliminary facility walk-through, reconcile records with equipment and turn observations into assigned actions. Intended for facility managers, utility engineers and sustainability teams.

Editable working template. Replace bracketed fields, add rows as needed and retain the supporting evidence. Not a certification or a substitute for site-specific professional assessment.

# Audit record

| Field | Response |
| --- | --- |
| Facility and address | [Enter response] |
| Audit date and reporting period | [Enter response] |
| Audit lead and site representative | [Enter response] |
| Boundary and excluded areas | [Enter response] |
| Production or occupancy context | [Enter response] |
| Document version and reviewer | [Enter response] |

# Preparation and safe access

Arrange authorised access and relevant safety induction. Do not open electrical panels, enter tanks or confined spaces, or take samples without the required competence and procedure.

| Record to request | Available and reference |
| --- | --- |
| Site water flow diagram and drainage layout | [Yes / No / Not applicable; file reference] |
| Water bills and source abstraction records | [Yes / No / Not applicable; file reference] |
| Issued NOC and applicable consent conditions | [Yes / No / Not applicable; file reference] |
| Treatment process and operating logs | [Yes / No / Not applicable; file reference] |
| Meter register and calibration records | [Yes / No / Not applicable; file reference] |
| Water quality reports and sampling plan | [Yes / No / Not applicable; file reference] |

# Sources meters and storage

Use one inventory row per asset. Record units, timestamps and whether each value is measured or estimated. Photographs must follow the site permission process.

| Asset or source | Location and boundary | Reading and unit | Evidence |
| --- | --- | --- | --- |
| [Asset ID] | [Area / branch] | [Value / time] | [File / photo] |
| [Asset ID] | [Area / branch] | [Value / time] | [File / photo] |
| [Asset ID] | [Area / branch] | [Value / time] | [File / photo] |
| [Asset ID] | [Area / branch] | [Value / time] | [File / photo] |

| Check | Observation and action |
| --- | --- |
| Are all external sources separately identified? | [Finding / evidence / action or N/A] |
| Are meters accessible, working and traceably checked? | [Finding / evidence / action or N/A] |
| Do cumulative readings and period totals agree? | [Finding / evidence / action or N/A] |
| Are unmetered branches and estimation methods documented? | [Finding / evidence / action or N/A] |
| Are tanks protected and overflow routes observable? | [Finding / evidence / action or N/A] |
| Is storage change included in short-period balances? | [Finding / evidence / action or N/A] |
| Are potable and non-potable systems identified and separated? | [Finding / evidence / action or N/A] |

# Record gaps explicitly

List missing readings or uncertain boundaries here. Do not force an unexplained residual to zero by changing an estimate.

[Data gap, effect on conclusion, owner and date for follow-up]

# Treatment reuse and end uses

| Check | Finding and evidence reference |
| --- | --- |
| Does treatment performance meet the specified end-use requirement? | [Observation / evidence / N/A] |
| Are flow, quality and maintenance records available for the same period? | [Observation / evidence / N/A] |
| Are reject, backwash and sludge-related flows accounted for? | [Observation / evidence / N/A] |
| Are reuse flows tracked separately from external withdrawals? | [Observation / evidence / N/A] |
| Are cooling-tower makeup and blowdown measured? | [Observation / evidence / N/A] |
| Are conductivity control, leaks and overflow reviewed? | [Observation / evidence / N/A] |
| Are rainwater screens, first flush and storage maintained? | [Observation / evidence / N/A] |
| Are recharge proposals supported by site and quality assessment? | [Observation / evidence / N/A] |
| Are washdown, irrigation and sanitation losses investigated? | [Observation / evidence / N/A] |
| Are pumps, controls and abnormal run hours reviewed? | [Observation / evidence / N/A] |
| Are quality failures diverted or managed under an approved procedure? | [Observation / evidence / N/A] |

# Water balance check

For one consistent period and boundary: external inflows minus discharge minus consumption minus increase in storage equals unexplained residual. Internal reuse is not a new external inflow. Record uncertainty, meter resets and estimates.

| Field | Response |
| --- | --- |
| Period and units | [Enter response] |
| External inputs and accounted destinations | [Enter response] |
| Residual and explanation | [Enter response] |

# Actions review and closeout

Prioritise using site safety, service continuity, compliance conditions and verified resource losses. Cost and saving estimates should show their source and uncertainty.

| Finding | Action and owner | Due date | Closure evidence |
| --- | --- | --- | --- |
| [Finding ID and priority] | [Action / accountable owner] | [Date] | [Record and reviewer] |
| [Finding ID and priority] | [Action / accountable owner] | [Date] | [Record and reviewer] |
| [Finding ID and priority] | [Action / accountable owner] | [Date] | [Record and reviewer] |
| [Finding ID and priority] | [Action / accountable owner] | [Date] | [Record and reviewer] |
| [Finding ID and priority] | [Action / accountable owner] | [Date] | [Record and reviewer] |

# Follow up and acceptance

| Field | Response |
| --- | --- |
| Immediate issues escalated to | [Enter response] |
| Measurements still required | [Enter response] |
| Next review date | [Enter response] |
| Reviewed by and date | [Enter response] |

# Reference and limitations

Method reference: U.S. EPA WaterSense at Work, https://www.epa.gov/watersense/watersense-work

This checklist supports a preliminary review. It does not set water quality limits, determine NOC applicability or replace a detailed engineering audit. Verify requirements with the competent authority and qualified specialists. Site photographs and personal information should be retained only with appropriate authorisation.